# page_28.png

UNCERTAINTY ANALYSIS OF GAS METERING SYSTEM

PM4 POWER PLANT

4.0 STANDARD VOLUME FLOWRATE UNCERTAINTY

where the sources of uncertainty are taken to be

Uculg

the

uncertainty in the calibration gas

Utol

The tolerance applied during the calibration

Urep

the repeatability of the measurement

The

upstream

density

is

calculated

from

the

gas

composition

measured

by

a

gas

chromatograph,

the   sensitivity   coellicients

for   each of the input   quantities

are

calculated  by

successively increasing and decreasing each input by the magnitude of its estimated uncertainty and

calculating the elfect this has on the resulting density as described in the GUM'

temporary variable Zi is first calculated

Z;

=

[f(n_

+

u(x,)_,x,) - f ((xv",x;

=

u(x,),x))]

and where the expanded uncertainty is expressed in the form:

N

u, (y) =

2c .uỉ (x,)

1~

the value of each sensitivity coefficient c; taken as Z/u(xi).

4.1.3.1 Sensitivity coefficients for upstream density uncertainty

The uncertainty calculation for each component and the sensitivity coefficients are shown in

the table below

The combined standard uncerlainty for each component is calculated by:

calg

tol

u m :=

Where the sources of uncertainty are taken to be:

calg

Calibration gas uncertainty

'The calibration tolerance

The gas chromatograph repeatability

Sensitivity_coefficient calculation

Cal.

Calibration

Chromatograph

Combined

Component

uncertainty

tolerance

repealability

uncerlainty

C;

value

(%)

(%)

(%)

(%)

C

0,8880

0,0236

u01

0,02

0,0336

0,90386!

N

',0048

0,3506

0,06

0,02

0,3584

0,007561

Guide t0 the Expression of Uncertainty in Aleasuremen. Section J

Page 18 0l 31

rep

Utol

Urcp

gas