# page_30.png

UNCERTAINTY ANALYSIS OF GAS METERING SYSTEM

=

PMA POWER PLANT

4.0 STANDARD VOLUME FLOWRATE UNCERTAINTY

For FT- 1440

Source

Value

Symhol

Dislrihution

Divisor

U;

(c; X

u;)?

(f

uncertainty

Absolute pressure

(,/21

Nornnal

2,00

1,08993

0,06

4,32E-03

T

Line temperature

0,969)

Normal

2,00

-0,09158

0,48

1,9742-03

Z

Equalion ol state

0, 1 00

Normal

2,00

1,(0006

0,05

2,50/;-03

C

Methane

0,034

Norinal

2,0()

(),90386

0,02

2,30E:-04

N

Nitrogen

0,358

Normal

2,00

(),00756

0,18

1,841,-06

CO2

Carbon [ioxide

0,306

Normzal

2,0)0)

0,(6374

0,15

9,521;-05

Cz

Ethane

0,433

Norna/

2,00

0,08757

0,22

3,6016-04

C

Propane

0,313

Normal

2,(()

0,06617

0,16

1,071;-04

iCi

i-Butane

0,358

Normal

2,00

0,02032

0,18

1,321-05

nC4

n-Butane

(),344

Normal

2,00

(,01859

0,17

1,0218-05

iCs

i-Pentane

0,583

Normal

2,00

0,00778

0,29

5,141:-06

nC5

n-Pentane

0,674

Normal

2,00

(,00479

0,34

2,601-06

nC6

n-Hexane

1,046

Nornval

2,(()

0,00876

0,52

2,10E-05

UoRh)

Combined slandard uncettainty

Normal

0,098

U(hu)

Expanded uncertainty

Normal (k=2)

2,00

0,20

4.2 Standard

density

The

standard   density

is

calculated

fron

the

gas

composition

measured

by

à

gas

chromatograph.

'The functional relationship used to determine the standard density is defined in ISO 69765

1995. This can be wrillen in the lorn

y = f(x1, X2, X). _

Xi)

where the output y (slandard density ) is a lunction ola number of inputs x (components forming the

gas composition)

The sensitivity coelficients lor each ol the input quantities are calculated by the same finite

difference melhod as used wlven

calculating the sensitivity coellicients for the upstream density .

4.2.1 Sensitivity coefficients for standard density uncertainty

The uncertainty calculation lor eacl component and the sensitivity coellicients are shown in

the table below

The combined standard uncertainty [or each component is calculated by

calg

tol

rep

U m :=

5

IS6) 6976 Nutural (ìas

( 'ulculalion 0f calowvifìc values; dlensily; relaive dlensity aul Wobbe inlex_fium t gas compusilion

Page 20 ol 31