## Page: page_14.png

UNCERTAINTY ANALYSIS OF GAS METERING SYSTEM _ PMA POWER PLANT

1.0 INTRODUCTION

The purpose ot this estimation study is t0 establish the uncertainty of of Phu My Gas Distribution

Centre   (GDC). The   uncertainty eslimalion has been   performed at aclual line condition then

transferred to the base condition at 15 "C and 1,01325 bar a The uncertainty of the system will be

presented below.

Page 4 of 3