## Page: page_16.png

Pstd

Qine * P,

where

Qie

UNCERTAINTY ANALYSIS OF GAS METERING SYSTEM " PM4 POWER PLANT

3.0 ULTRASONIC METER UNCERTAINTY

3.1. Flow calculation methodology

The flow calculation   methodologies for Phu My GDC Gas   metering   system are in

accordance witl AGA 9 lor ultrasonic meter; AGA 8-1994, and ISO 6976-1995.

3.2. Ultrasonic metering system

As refer lo AGA 9 the flow process data measured by ultrasonic meter can be transmilted to

flow computer via MODBUS protocol through RS 485 serial link. In this project; a digital signal is

selected. 'he line volume [low rate is then given as below

Qline x3600x x CPsm

Cfsm

KF

meler

and the standard volume llowrate and energy tlowrate is illustrated as following equations (in

accordance with AGA 9 Section 7.3.1)

P1

Qsud Qline

Qm

(3)

24 KF

Qr = Qsal x Hsvol

P T PL

VCF = X

(5)

P T, Pb

Volume flow rate at line condition; m*/h

'sld Volume flow rate at base condition; m' /h

Qm Mass flow rate, kg/h

Qi:

Energy flow rate, MJ/h

KF Meter K-Factor derived from calibration certiticate

mlilr

Frequencylpulses generated from ultrasonic meter

Hs ,

Vul Volume base heating value calculated in accordance with ISO 6976 1995, MJIm'

VC'F Volume correction factor to base condition.

Page 6 0l 3