## Page: page_19.png

UNCERTAINTY ANALYSIS OF GAS MITERING SYSTEM PM4 POWER PLANT

4.0 STANDARD VOLUME FLOWRATE UNCERTAINTY

Thc standard (lowrate is illustralcd as lollowing cquation(in accordance witl AGA 9 Seclion 7.3.

= Qline x VCF

sld

1 Tu PL

VCl:' = 4

T; Ph

the unccrtainty equation ol standard volumc flow lor both elcments is therelore.

Ihn Jexp U(Rhs) | +(Ux

1) +C

(shd

4.1 Upstream density

'Tle upstream dcnsity is calculated [rom the gas composition neasurcd by a gas

chromatograph Daniel 500 series. tlne line prcssurc mcasured by a pressure transducer and the line

tempcralurc measured by a tempcralure RTD.

The functional relationship uscd t0 determine tle line density is defined in AGA8 ~ 1994, this

can be written in thc form:

y = f(x] X2, X}. . . Xi)

whcre the output y (density) is & linnction of a number of inputs x (components; tcmpcralurc and

pressure valucs)

Thc sensitivity cocflicicnts lor cach of thc input  quantitics are calculated by successivcly

increasing an decreasing cacl input by the magnitudc of its estimated uncertainty and calculating

thc ellect lhis has on thc resulting dcnsity as described in the GUM'

(emporary variable 'Z is first calculated

Z; = 2[f(; 4- u(x;)_)-f ((Y; = u(;_ )I))]

and whcrc thc cxpandcd unccrtainty is exprcsscd in thc form:

N

"(j) = 2c; .u*(x;)

1=1

thc value o[ cach sensilivity coellicicnt c; lakcn as 'Zi/u(xi).

By using tlc line pressure, tempcraturc   and live gas data fron gas chromatograpl, the 'ine

compressibility factor and also the line dcnsity value can be oblained in accordance to AGA8 U4

calculation: The combincd slandard uncertainty is calculated as show below

(iuide to the Expression ạf neemtainty in Mfeasurement. Section 5

Fagc 9 0f 31