## Page: page_34.png

| Ucalg | Calibralion gas uncertainty |
| --- | --- |
| Ulol | The calibration tolerance |

| C! | 0,8880 | 0,0236 | 0,01 | 0,02 | 0,0336 | (,829712 |
| --- | --- | --- | --- | --- | --- | --- |
| N | 0,0048 | 0,3506 | (6 | 0,02 | 023584 | 0,000009 |

UNCERTAINTY ANALYSIS OF GAS METERING SYSTEM  PM4 POWER PLANT

5.0 ENERGY FLOWRATE UNCERTAINTY

The uncertainty in the energy llowrate can be calculated by including the uncertainty in the caloritic

value Ec'v.

sIdl Jexj (cv)exp

U

(e

2

5.1 Calorific value

[he caloritic value  (C'V) is calculated Iroi the gas   composition measured by à

gas

chromatograph.

'[he lunnctional relationship used 10 determine the calorific value is delined in ISO 69766. this

can be wrilten in the lorn

y 22 [(x1, X2, X}... Xi)

where Ihe output y (C'V) is à finnction ol a numher of inputs X (components  lorming the gas

composition)

'[he sensilivily coellicients lor each of the input quantities are calculated by the same finite

dillerence melhod as used when calculating the sensitivity coellicients lor the upstreamn density .

5.1.1 Sensitivity coefficients for calorific value uncertainty

The uncertainty calculation lor eacl component and the sensitivity coeflicients are shown in the

table below

The combined standard uncertainty for each component is calculated by

U calg tol rep

u m :=

where the sources of uncerlainty are taken to be:

Urep The gas chromatograph repeatability

The uncertainty calculation for each component and the sensitivity coellicients are slown in the

table below:

Composition Chromatograph Chromatograpl Combined

Value

uncertainty tolerance repealabilily uncertainty

(%)

(%) (%) (%) (%)

C02 0,0246 022891 09) 0, 02 0,3062 0,000191

[S0 6976 Naural (ìas ('aleulation of calorific values. density; relaive density ad Wobhe indlex Jrom & gas cowsition

Page 24 ol31